ELECTRICAL STORES

| SR. NO. | DESCRIPTION | A/U | MAKE | RATE |
| --- | --- | --- | --- | --- |
| 1 | TUBE LIGHT FITTING LED 16 WT 4' | Numbers | Great white |  |
| 2 | BEND CONDUIT 3/4 INCH | Numbers | Classic |  |
| 3 | BEND CONDUIT 1.1/4 INCH | Numbers | Classic |  |
| 4 | BELL BUZZAR | Numbers | Great white, Anchor, |  |
| 5 | BOXES CI 4X3 INCH | Numbers |  |  |
| 6 | BOXES CI 5X5 INCH | Numbers |  |  |
| 7 | BOXES CI 8X3 INCH | Numbers |  |  |
| 8 | BOXES CI 12X8X4 INCH | Numbers | Wooden |  |
| 9 | BOXES CI 12X24X4 INCH | Numbers | Wooden |  |
| 10 | BOXES CI 14X12X4 INCH | Numbers | Wooden |  |
| 11 | BOXES CI 18X12X4 INCH | Numbers | Wooden |  |
| 12 | BOXES WOODEN 7X4 INCH | Numbers | Wooden |  |
| 13 | BAKELIGHT SHEET 4X4 INCH | Numbers | Wooden |  |
| 14 | BEARING FAN CELLING 6201-6202-6203 | Numbers | HCH |  |
| 15 | BUTTON HOLDER | Numbers | Great white |  |
| 16 | BATTON PVE ALL SIZE | Numbers | Regal, Classic |  |
| 17 | BULB CFL VARIOUS WT | Numbers | Great white |  |
| 18 | BULB ELECTRIC VARIOUS WT | Numbers | Great white |  |
| 19 | BUS BAR (PETESTIAL PANEL) | Numbers | Asco, Emm, Gee |  |
| 20 | CABLE PVC 3/29 1MM | rolls | Great white, Veto |  |
| 21 | CABLE FLEXIBLE 23/76 | rolls | Great white, Veto |  |
| 22 | CABLE FLEXIBLE 40/76 | rolls | Great white, Veto |  |
| 23 | COPPER WIRE SUPPER ENAMELLED 20SWG | Kgs |  |  |
| 24 | CONDENCOR FOR MOTOR 100/125/150 | Numbers | Havells |  |
| 25 | CONDENCER FOR CEILING FAN 2.5 MFD | Numbers | Havells |  |
| 26 | CONDENCOR FOR COOLER | Numbers | Havells |  |
| 27 | CIRCUIT BREAKER 10/20/25/32 AMP | Numbers | L&T |  |
| 28 | CHANGE OVER SWITCH 16 AMP | Numbers | Asco, Emm, Gee |  |
| 29 | DP SWITCH 32 AMP | Numbers | Great white, HPL |  |
| 30 | DP SWITCH 40 AMP | Numbers | Great white |  |
| 31 | ELEMENT GYZER (ALL SIZE) | Numbers | Theeta, |  |
| 32 | ELEMENT ROOM HEATER | Numbers | Bajaj |  |
| 33 | ELEMENT HEATER FOR WATER TANK 06/09 KWT | Numbers | Bajaj |  |
| 34 | ELCB | Numbers | HPL |  |
| 35 | FAN SHEET | Numbers | N.P.W |  |
| 36 | FAN BOX | Numbers | P.G |  |
| 37 | FAN BOX COVER | Numbers | N.P.W |  |
| 38 | FAN REGULATOR | Numbers | Great white |  |
| 39 | FLEXIBLE PIPE-ALL SIZE | rolls | Poly Pipe |  |
| 40 | FOOT LIGHT COVER | Numbers | Great white |  |
| 41 | GANG BOX-ALL SIZE | Numbers | Great white |  |
| 42 | HELOGEN LAMP 400 WT | Numbers | Crompton, Philips |  |
| 43 | HELOGEN LAMP 500 WT | Numbers | Crompton, Philips |  |
| 44 | HELOGEN LAMP 1000 WT | Numbers | Crompton, Philips |  |
| 45 | HOOKS IRON | Kgs |  |  |
| 46 | HELOGEN LAMP TRANSFORMER | Numbers | Crompton, Philips |  |
| 47 | HELOGEN FITTING WITH 150 WT LAMP | Numbers | Crompton, Philips |  |
| 48 | INSULATION TAPE | rolls | Great white |  |
| 49 | JUNCTION BOX ALL SIZE | Numbers | Poly Pipe, |  |
| 50 | KIT KAT 63 AMP | Numbers | CEC |  |
| 51 | KIT KAT 100 AMP | Numbers | CEC |  |
| 52 | KIT KAT 200 AMP | Numbers | CEC |  |
| 53 | GULTY WOODEN/PLASTIC | Packet | Local |  |
| 54 | KIT KAT 300/500 AMP | Numbers | CEC |  |
| 55 | LAMP HOLDER | Numbers | Great white |  |
| 56 | LAMP MURCURRY | Numbers | Crompton, Philips |  |
| 57 | LAMP SODIUM | Numbers | Crompton, Philips |  |
| 58 | LOWER FRAME | Numbers |  |  |
| 59 | MCB TPN 63 AMP | Numbers | HPL |  |
| 60 | MAIN SWITCH 3 PHASE 32 AMP | Numbers | Asco, Emm, Gee |  |
| 61 | PLUG TOP 5 AMP | Numbers | Great white |  |
| 62 | PLUG TOP 06 A | Numbers | Great white |  |
| 63 | PLUG TOP 16 A | Numbers | Great white |  |
| 64 | PLUG TOP 15 AMP | Numbers | Great white |  |
| 65 | PLUG MULTY 5 AMP | Numbers | Great white |  |
| 66 | PLUG MULTY 15 AMP | Numbers | Great white |  |
| 67 | PVC PIPE 3/4 INCH (POLY PIPE) | length | Poly Pipe, Classic |  |
| 68 | PVC PIPE 1.1/4 INCH | length | Poly Pipe |  |
| 69 | PVC PIPE 1.1/2 INCH | length | Poly Pipe |  |
| 70 | PVC BEND 3/4 INCH (20MM POLY PIPE) | Numbers | Poly Pipe |  |
| 71 | PVC BEND 1.1/2 INCH | Numbers | Poly Pipe |  |
| 72 | SWITCH 5 AMP | Numbers | Great white |  |
| 73 | SWITCH 6 AMP | Numbers | Great white |  |
| 74 | SWITCH 15 AMP | Numbers | Great white |  |
| 75 | SOCKET 5 AMP | Numbers | Great white |  |
| 76 | SOCKET 6 AMP | Numbers | Great white |  |
| 77 | SOCKET 15 AMP | Numbers | Great white |  |
| 78 | TUBE ROD 36WT-40WT-28WT | Numbers | Crompton |  |
| 79 | TUBE STARTER | Numbers | Crompton |  |
| 80 | TUBE CHOKE | Numbers | Crompton |  |
| 81 | TELEPHONE WIRE | rolls | Great white, Finolex |  |
| 82 | TELEPHONE SOCKET | Numbers | Great white |  |
| 83 | CABLE PVC 1.5 MM | rolls | Great white |  |
| 84 | WIRE TELEVISION CABLE | rolls | Great white |  |
| 85 | THIMBLE VARIOUS MM | Numbers | Dovel |  |
| 86 | CABLE PVC 7/29 2.5MM | rolls | Great white |  |
| 87 | CABLE 7/64 4MM | rolls | Great white |  |
| 88 | CABLE PVC EARTH 7/44 1/44 0.4 MM | rolls |  |  |
| 89 | COPPER WIRE SUPPER ENAMELLED 29 SWG | Kg |  |  |
| 90 | SOLDRING STICK/ROD | grm |  |  |
| 91 | HELOGEN FITTING WITH 120 WT LAMP | Numbers | Crompton |  |
| 92 | HALOGEN FITTING WITH 60 WT LAMP | Numbers | Crompton |  |
| 93 | LAMP SHADES | Numbers |  |  |
| 94 | SOCKET 6 AMP | Numbers | Great white |  |
| 95 | ELECTRICAL PANEL | Numbers |  |  |
| 96 | L&T SUB METER 3 PHASE | Numbers | HPL |  |
| 97 | THERMOSTATER | Numbers |  |  |
| 98 | HOLOGEN ROD HOLDER | Numbers | Delta |  |
| 99 | CLAMPING MACHINE | Numbers |  |  |
| 100 | ELECTRIC SIREN 1 KM | Numbers |  |  |
| 101 | GYSER 35 Ltrs | Numbers | Crompton, MEA |  |
| 102 | C/FAN 48" + 56" | Numbers | Crompton |  |
| 103 | C/FAN 24" | Numbers | Crompton |  |
| 104 | CONDENCING UNIT | Numbers |  |  |
| 105 | FAN WALL MOUNTING 16" | Numbers | Crompton |  |
| 106 | FAN WALL MOUNTING 24" | Numbers | Crompton |  |
| 107 | CABIN FAN 12" | Numbers | Crompton, MEA |  |
| 108 | EXHAST FAN 12",14",15" | Numbers | Crompton |  |
| 109 | EXHAST FAN 18" | Numbers | Crompton |  |
| 110 | EXHAST FAN 24" | Numbers | Crompton |  |
| 111 | GYSER 15 LTRS | Numbers | Crompton |  |
| 112 | EXHAST FAN 10" | Numbers | Crompton |  |
| 113 | MCB 63 A TWO POLE DP | Numbers | HPL |  |
| 114 | MCB BOX DP | Numbers | HPL |  |
| 115 | CONDUTE PIPE | length | Classic, Regal |  |
| 116 | WASHING MACHINE | Numbers |  |  |
| 117 | PIPE CLAMP | Numbers |  |  |
| 118 | BRUSH CUTTER | Numbers |  |  |
| 119 | CABLE 355 GMM FOUR CORE | meters | Havells |  |
| 120 | INDIGATOR | Piece | Great white |  |
| 121 | COPPER WIRE | Per meters | Great white |  |
| 122 | PLAIER | Piece | Taparia |  |
| 123 | ROOM HEATER BLACK 2900W HAVELLS | Numbers |  |  |
| 124 | LED TUBE SET 2 FEET 9W | Numbers | Great white |  |
| 125 | STEEL WIRE | Kgs |  |  |
| 126 | JUNCTION COVER | Piece | NPW |  |
| 127 | COB LIGHT SW | Numbers | Great white, Philips |  |
| 128 | SURFACE PANNEL 9 WT | Numbers | Great white |  |
| 129 | SADLE 25MM,20MM | Piece |  |  |
| 130 | FAN HOOK | Numbers | P.G |  |
| 131 | LED LIGHT 20W | Numbers | Veto |  |
| 132 | LED LIGHT 75W | Numbers | Veto |  |
| 133 | LED LIGHT FLOOD 50W,100W | Numbers | Veto |  |
| 134 | LED LIGHT 70W | Numbers | Veto |  |
| 135 | BEND 25MM (POLY PIPE) | Numbers | Poly pipe, Classic |  |
| 136 | PIPE 25MM (POLY PIPE) | Numbers | Poly pipe, Classic |  |
| 137 | TUBE SET 9 W | Numbers | Great white |  |
| 138 | CABLE 10MM 4 CORE | Rolls | Havells |  |
| 139 | TUBE SET LED 18 W | Numbers | Great white |  |
| 140 | BULBS ELECTRIC 100 W | Numbers | Great white |  |
| 141 | BULBS ELECTRIC 60W | Rolls | Great white |  |
| 142 | CABLE PVC 1 MM (3.29) | Rolls | Great white |  |
| 143 | CABLE PVC 1.5 MM | Rolls | Great white |  |
| 144 | CABLE PVC 2.5 MM (7.29) | Rolls | Great white |  |
| 145 | CABLE PVC 0.75 MM,1/44, 1/18 | Rolls | Great white |  |
| 146 | CABLE PVC FLEXIBLE 23/76 | Rolls | Veto |  |
| 147 | CABLE PVC 2.5 MM | Rolls | Great white |  |
| 148 | PVC CABLE 4 MM | Numbers | Great white |  |
| 149 | CONDENSOR FOR CEILING FANS 2.5 MFD | Numbers | HCH |  |
| 150 | CONDENSOR FOR COOLER | Numbers | Havells |  |
| 151 | HALOGEN LAMP 500W | Rolls | Delta |  |
| 152 | INSULATION TAPE | Numbers. | Great white |  |
| 153 | KIT KAT 100 A | Numbers. | CEC |  |
| 154 | TUBE FITTING COMPLETE | Numbers | Great white, Crompton |  |
| 155 | TUBE ROD 36 W | Numbers | Crompton |  |
| 156 | TUBE STARTER | Numbers | Crompton |  |
| 157 | PVC PIPE | Length | Poly pipe, Classic |  |
| 158 | PVC BAND 1” | Piece | Poly pipe, Classic |  |
| 159 | PVC CASING 1” | Length | Poly pipe, Classic |  |
| 160 | PVC CASING 1 ½” | Piece | Poly pipe, Classic |  |
| 161 | KIT KAT 32 AMP | Piece |  |  |
| 162 | KIT KAT 63 AMP | Piece |  |  |
| 163 | MCB INDOKOPP | Piece |  |  |
| 164 | MS MODULAR BOX 3X3 | Piece | Great white, |  |
| 165 | MS MODULAR BOX 4X3 | Piece | Great white |  |
| 166 | MS MODULAR BOX 5X3 | Piece | Great white |  |
| 167 | MS MODULAR BOX 8X3 | Piece | Great white |  |
| 168 | MS MODULAR BOX 5X5 | Piece | Great white |  |
| 169 | CHOKE COPPER OSRAM | Piece |  |  |
| 170 | BEARING FOR CEILING FANS(6201,6202,6203) | Numbers | HCH |  |
| 171 | BUTTON HOLDER | Numbers | Great white |  |
| 172 | BATTON PVC 1/2" , 1" | Piece |  |  |
| 173 | DP SWITCH 32 AMP | Numbers | Great white |  |
| 174 | DP SWITCH 40 AMP | Numbers | Great white |  |
| 175 | FAN REGULATOR | Numbers | Great white |  |
| 176 | SOCKET TYPE | Numbers | Great white |  |
| 177 | STEP TYPE | Numbers | Great white |  |
| 178 | LAMP HOLDER | Numbers | Great white |  |
| 179 | TELEPHONE WIRE | Rolls | Great white |  |
| 180 | T-5 LED TUBE LIGHT (16W) | Numbers | Great white |  |
| 181 | T-5 LED TUBE LIGHT (9W) | Numbers | Great white |  |
| 182 | LED BULB 15W | Numbers | Great white |  |
| 183 | LED BULB 10W | Numbers | Great white |  |
| 184 | LED BULB 5W | Numbers | Great white |  |
| 185 | LED BULB 13W | Numbers | Great white |  |
| 186 | LED BULB 0.5W | Numbers | Great white |  |
| 187 | LED BULB 9W | Numbers | Great white |  |
| 188 | LED BULB 6W | Numbers | Great white |  |
| 189 | LED BULB 4W | Numbers | Great white |  |
| 190 | LED BULB 2.5W | Numbers | Great white |  |
| 191 | TUBE LIGHT SET 36W SLIM | Numbers | Crompton |  |
| 192 | TUBE LIGHT SET ELECTRONIC 36W | Numbers | Crompton |  |
| 193 | LED LIGHT FLOOD120W | Numbers | Veto |  |
| 194 | LED LIGHT FLOOD 60W | Numbers | Veto |  |
| 195 | LED LIGHT FLOOD 40W | Numbers | Veto |  |
| 196 | LED LIGHT FLOOD 150W | Numbers | Veto |  |
| 197 | P.V.C. PIPE POLY (ISI) HEAVY | Length | Poly pipe, Classic |  |
| 198 | P.V.C. PIPE MEDIUM (ISI) | Length | Poly pipe, Classic |  |
| 199 | P.V.C. JUNCTION BOX 25MM | Length | Poly pipe, Classic |  |
| 200 | FLEXIBLE PIPE 25MM | 10 FT | Poly pipe, Classic |  |
| 201 | FAN BOX (NATIONAL) | Numbers | P.S, National |  |
| 202 | WIRE 0.75 MM (HAVELLS/V. GUARD) | meters | Great white |  |
| 203 | WIRE 1 MM (HAVELLS/V. GUARD) | meters | Great white |  |
| 204 | WIRE 1.5 MM (HAVELLS/V. GUARD) | meters | Great white |  |
| 205 | WIRE 2.5 MM (HAVELLS/V. GUARD) | meters | Great white |  |
| 206 | WIRE 4 MM (HAVELLS/V. GUARD) | meters | Great white |  |
| 207 | WIRE 6 MM (HAVELLS/V. GUARD) | meters | Great white |  |
| 208 | TAP ROLL (STEEL GRIP) | Piece | Great white |  |
| 209 | CAT-6 WIRE D-LINK | Meters | D-Link |  |
| 210 | CABLE 35MM | PER METER | Havells |  |
| 211 | CABLE TRAY 400M,165M WITH POWER | PER METER |  |  |
| 212 | ANGLE TRY CLAMP | PER PIECE |  |  |
| 213 | CABLE 16MM | PER METER |  |  |
| 214 | 10 SQ. MM WIRE COPPER | PER METER | Havells |  |
| 215 | CABLE TRAY ANGLE | PER METER | Great white |  |
| 216 | PVC PIPE 32 MM (POLY PIPE) | NUMBERS | Poly Pipe |  |
| 217 | PVC BEND 32 MM (POLY PIPE) | NUMBERS | Poly Pipe |  |
| 218 | MS CONDUCT PIPE 20MM (ISI) | PER METER | Classic |  |
| 219 | SURFACE LIGHT 6W,7W, 20W | NUMBERS | Veto |  |
| 220 | LED LIGHT FLOOD 100 W | NUMBERS | Veto |  |
| 221 | LED LIGHT FLOOD 70 W | NUMBERS | Veto |  |
| 222 | LED LIGHT FLOOD 50 W | NUMBERS | Veto |  |
|  | TERMS AND CONDITIONS | GST |  |  |

Date	:

Name	:

Stamp	: